# NATIONAL INSTITUTE FOR HEALTH AND 
CARE EXCELLENCE

# Medical technologies evaluation programme

# Equality impact assessment: Topic selection and scoping

# GID-HTE10015 Artificial intelligence auto-contouring to aid radiotherapy treatment planning: early value assessment

The impact on equality has been assessed during this evaluation according to the principles of the NICE Equality scheme.

Have any potential equality issues been identified during the development of the topic briefing note or during selection, and, if so, what are they?

Potential equality issues have been identified in line with equality considerations for this class of technologies. AI models can contain algorithmic bias depending on the population used in training. Populations used in training datasets may not be representative of patient populations in clinical practice which can cause potential age, gender, disability and ethnic bias. Clinical experts advised that there may be a lack of representation of female pelvis and male breast cancer in some training datasets. Training datasets may also underrepresent children and young people. This may affect the performance of AI auto-contouring for these populations. AI auto-contouring may also perform best with certain CT or MRI sequences or with the person being in a specific position such as supine head-first. Training datasets may not include data on atypical positioning which may make AI auto-contouring less accurate for some people with limited mobility who have difficulty with these positions. Clinical experts advised that AI auto-contouring may also not work as well for people with atypical anatomy associated for example with previous medical interventions such as surgery. One company claimed that initial studies showed the risk of algorithmic bias may be small and should not impact patient care. Another company advised that their technology was trained using representative data from their hospital. This means the population may not be representative of patient populations in other regions. Retraining may therefore be needed with local data, but this should be first discussed with companies to ensure that the validity and reliability of models are preserved. Potential risk of bias of a specific technology should be considered when deciding if to use that technology in research or clinical settings. This should form part of a local assessment process before purchase and clinical decision-making. Companies should also provide detailed information on training datasets as part of their product information pack, including guidelines used and demographics such as age range, gender ratios and inclusion of disabilities. Cancer is considered a disability under the Equality Act 2010. Incidence rates in the UK for all cancers combined are highest in people aged 85 to 89 with more than a third of diagnoses each year being in people aged 75 and older. Age and disability are protected characteristics under the Equality Act 2010.

What is the preliminary view as to what extent these potential equality issues need addressing by the committee?

The committee should consider all the equality issues when making recommendations.

Has any change to the draft scope been agreed to highlight potential equality issues?

No changes were made to the decision problem of the draft scope. Additional details of equality issues were added, including specific groups who may be underrepresented in training datasets used to create AI algorithms.

Have any additional stakeholders related to potential equality issues been identified during the scoping process, and, if so, have changes to the stakeholder list been made?

No.

Approved by the medical technologies advisory committee Chair: Jacob Brown

Date: 21 April 2023